23 May 2022 Sigma Consultants Limited PO Box 553 Rotorua 3040 Version 1 issued: 23/05/2022 Version 2 issued: 24/03/2023.

Dear Sir/Madam Resource Consent Application RM17-0635-AP, discharge urban stormwater to Lake Rotorua – Request for Further Information (s92 RMA) - Version 1 Following review of your application we request the further information as outlined below: Updates, amendments or changes to the application In previous discussions I have queried whether there have been any changes to the application, the CMP or modelling since lodgment (or rather re-lodgment) in 2017. - Please confirm whether there have been any changes or updates to the application, the CMP or modelling since lodgment. - Where changes have occurred, please provide further detail on this. If there are significant or extensive changes, I would recommend amending the relevant document(s) in its entirety so one document can be circulated rather than multiple documents with amendments. Existing Consents Section 4.6 of the application advises that there are 39 consents relating to the discharge or diversion of stormwater and associated works. This section states that some of the consents have expired and are operating under s124 rights, while this application is processed. - Please update Appendix D (if applicable) to advise any consents that may have expired (and be operating under s124) or that have been granted since the application was lodged and that RLC wishes to include in this consent. Works undertaken to date Section 4.12 of the application document provides a description of works that at the time of lodgement were under consideration. Given the time that has passed since lodging this consent, it would be helpful to understand if any of the measures identified in section 4.12 have been completed or if any other measures that have been implemented to manage stormwater since this time. - Please provide a description of which works (if any) in the table under section 4.12 have been completed. - Please provide a detailed description of: - Any works, upgrades, maintenance, flood mitigation that has been undertaken since consent lodgement; and - Any works that are proposed. Please include the proposed timeframes for this work; and - The allocation of funding for these works (e.g. what financial commitment has RLC made to undertaking proposed works?) Potential change of approach to this application I am aware that RLC is considering changing their approach to the scale of the application. If pursued this would mean that RLC would progress some catchments ahead of other catchments. For example, low-risk catchments might be progressed before those considered to be higher risk or contentious. Before confirming this approach, I think it would be beneficial to discuss the pros and cons of this. - Please confirm if this is the approach that RLC would like to take? - If this is the approach that RLC now considers appropriate, please identify which catchment(s) RLC would like the BOPRC to progress. - Please confirm if RLC intends to continue stormwater licensing from industrial sites? If this approach has changed, please advise how these sites will be managed into the future? For example, is it RLC’s preference that those sites are excluded from the CSC and obtain their own consent? Existing vs new development Does RLC intend to include green field development within the scope of the CSC? Typically greenfield development has been excluded from CSCs and developers have been required to obtain their own consents prior to development. This process sees the design and construction of stormwater networks to agreed standards and the effects associated with water quality and quantity assessed and considered upfront. This ensures the existing network is not overwhelmed (or further impacted). These consents are then amalgamated into the CSC once completed. - Please confirm RLC’s approach to development. Does RLC wish to include greenfield areas in the scope of the consent? Proposed Monitoring and Upgrades In our conversations we have discussed the approach taken by the Bay of Plenty Regional Council with regards to Comprehensive Stormwater Consents. This approach acknowledges the difficulties associated with an applicant assessing and understanding the full suite of effects associated with the discharge of stormwater across urban catchments. To date consent conditions require adaptive management, following the targeted monitoring and analysis of stormwater across these catchments. Conditions also require the prioritization of high-risk catchments for monitoring and infrastructure upgrades. It is expected over time, that the full urban area (authorized by this consent) will be progressively monitored and assessed, and that infrastructure will be upgraded to avoid, remedy or mitigate adverse effects associated with the discharge of stormwater to land and water. With that in mind: - Please provide a detailed description of the catchment(s) that the Rotorua Lakes Council considers high risk and that RLC proposes to prioritise for monitoring and analysis and infrastructural upgrades (where required). - Please provide a timeline for when RLC proposes that the monitoring of these catchments will commence. - Please provide a general monitoring regime for urban stormwater which will enable RLC to understand water quality and quantity effects across the Rotorua Urban Area. For the purpose of this question, I believe it is important that RLC submit a proposal that can be reviewed by BOPRC and amendments made where necessary. It is anticipated that such a regime would be incorporated in consent conditions and applied across the various Rotorua Urban Stormwater Catchments. - Please consider and comment on whether such monitoring could commence alongside the processing of the consent as a way of understanding some of the effects associated with the discharge of stormwater in specific catchment(s). - Please provide an assessment relating to any state of the environment monitoring undertaken which helps to understand the risks throughout the catchment in a rain event. Allocation of resources It is acknowledged that the operation, maintenance and upgrading of such an extensive system is an expensive undertaking. - Please provide a detailed description of how RLC is allocating funding for the operation, maintenance and upgrading of the stormwater system, currently and into the future. Stormwater Modelling Information provided in the consent application explains that stormwater modelling has been completed for four catchments and has partially been undertaken for three further catchments. In her technical review (dated 13/02/2016) Ms. Sue Southerwood recommended that a modelling program be required as a condition of consent with associated timeframes. Ms Southerwood’s proposed wording is as follows: “Within 2 years all high priority modelling shall be completed and within 5 years all catchments to have been modelled and modelling reports provided to BOPRC. The information to be provided to BOPRC will include flood maps for various rainfall events and a list of prioritised capital works to be carried out.” - Please confirm if any further modelling has been undertaken since the lodgement of the consent application? PROVIDE THIS INFO TO US - Please comment on whether RLC has any work scheduled to undertake such works. - Please comment on this proposed wording of this consent condition. Is a condition of this nature something that would be supported by RLC and the timeframes achievable? Monitoring / Reporting Given the extent of stormwater discharges throughout the Rotorua Urban Area which has occurred in an unconsented manner for an extended period of time, it is difficult to understand the effects associated with, and arising from the discharge of urban stormwater. Therefore, in our previous conversations we discussed undertaking a small-scale monitoring regime on the Utuhina Stream (near the industrial area) as a means of understanding the potential effects associated with the discharge of stormwater to water from a high-risk catchment. - Please confirm if this monitoring has been undertaken. - If this monitoring has been undertaken, please provide the outcome of that monitoring including an assessment of the effects associated with the discharge at that location. - If applicable, please provide further information on any monitoring / reporting / analysis that has been undertaken to support the assessment of this application. Consultation / Engagement I understand that there have been attempts by Rotorua Lakes Council and/or their contractors to engage with tangata whenua across the Rotorua Urban Area as a means of understanding the effects of the activity on cultural values. It is not clear how this engagement has progressed. - Please provide a detailed description of consultation undertaken to date and the outcome of that consultation including (where applicable) how Rotorua Lakes Council proposes to give effect to that feedback. - Please include detail on workshops held or meetings attended by RLC and tangata whenua representatives, meetings with iwi / hapu and proposed / fulfilled engagement plans (if relevant). - If applicable, please provide any Cultural Impact Assessment(s) or written approvals where these have been provided. - Please provide a description of any proposed consultation or engagement and the timeframes associated with this. - If, to date, engagement has not been undertaken or completed please provide an explanation as to why this engagement has not been undertaken. I understand that engagement with the Rotorua community affected by this application was proposed as a means of further understanding potential adverse effects associated with this activity. - Please provide a detailed description of consultation undertaken to date with the community and the outcome of that consultation including (where applicable) how RLC proposes to give effect to that feedback. - If, to date, engagement has not been undertaken or completed please provide an explanation as to why this engagement has not been undertaken. It is important that RLC engages with the Bay of Plenty Regional Council Rivers and Drainage (R&D) Team. R&D manage flood flows and the associated infrastructure (stop banks) across a number of waterways throughout the Rotorua Urban Area. As part of this, R&D provide an agreed level of flood mitigation for scheme members. Scheme members pay a targeted rate to access this mitigation. I understand that the level of mitigation may vary for each scheme. Therefore, it is important for RLC to understand the level of service BOPRC has agreed to and how the existing stormwater flows, and infrastructure fit with this. As the existing infrastructure and discharges are not currently authorised they may be impacting upon the level of service agreed between BOPRC and scheme members and on-going mitigation, by way of consent conditions, may be required. It is likely that this engagement will result in the imposition of consent condition(s) to avoid, remedy or mitigate these effects. - Please commence engagement with Kirsty Brown and Bruce Crabb at BOPRC - Please provide the outcome of that consultation including (where applicable) how RLC proposes to give effect to that feedback. Kirsty Brown, Rivers and Drainage Assets Manager Kirsty.Brown@boprc.govt.nz 0800 884 881 x 9530 0272684501; Bruce Crabbe, Operations Manager Bruce.Crabbe@boprc.govt.nz 0800 884 881 x 9513 021756032. National Policy Statement for Freshwater Management The National Policy Statement for Freshwater Management 2011 that you assessed your application against has now been replaced. - Please provide an updated policy assessment against the relevant objectives and policies of the NPS-FM 2020. Version 2: National Environmental Standards for Freshwater Management Since re-lodgement of the application in 2017, the National Environmental Standard for Freshwater Management has become operative. The NES-FM became operative on 03/08/2020. It would be helpful to confirm how RLC proposes to deal with situations where the construction of infrastructure or the discharge of water within or within proximity to a natural inland wetland is required. Other territorial authorities have proposed to obtain the relevant consents to construct or discharge as required and therefore those works are excluded from the comprehensive consent requirements and will be assessed on a case by case basis. Please note: - The construction of stormwater infrastructure (specified infrastructure) within or within 100m of a natural inland wetland is likely to be a discretionary activity under Regulation 45 of the NES-FM. - Please also be aware that Subpart 3 of the NES-FM deals with fish passage as a result of the placement, use, alteration, extension or reconstruction of a variety of structures (refer Regulation 58). - Regulations 61-69 outlines the information required for various structures. Where existing infrastructure requires upgrades or improvements to enable fish passage, this could be addressed through consent conditions over time. Once we have received all information necessary to assess the effects of your proposal on the receiving environment, we will continue processing your application. Please feel free to contact me regarding the requirements of this letter, on 0800 884 881 extension 8467 or at Mary.Pappon@boprc.govt.nz. When and how should I respond? In accordance with section 92A(1) of the Resource Management Act 1991 (RMA) you must respond to this request by 10 June 2022. You may either: - provide the required information, - write to us stating that you will supply the required information, but require a longer period in which to do so, or - write to us stating that you refuse to provide the required information. What happens if I do not respond or refuse to provide the information? If you do not respond by 10 June 2022 or respond indicating your refusal to provide the requested information, then under section 92B(2) of the RMA we must continue to process your application but your application is likely to be notified (incurring extra costs) and/or declined. If we decline your application, you have the right of appeal (s120 RMA) to the Environment Court. Yours faithfully.

Mary Pappon Senior Consents Planner.